## Sheet1
Weight%
Point# | Comment | CaO | SiO2 | V2O5 | As2O5 | B2O3 | Total
16 | R070182 Cahnite original calibration 20um beam | 36.7618 | 0.15973 | 0.39811 | 35.9483 | 11.6892 | 84.957
17 | R070182 Cahnite original calibration 20um beam | 36.6638 | 0.17574 | 0.28137 | 36.6713 | 11.6892 | 85.4814
18 | R070182 Cahnite original calibration 20um beam | 36.1111 | 0.30672 | 0.44671 | 34.6317 | 11.6892 | 83.1854
19 | R070182 Cahnite original calibration 20um beam | 35.2696 | 0.17095 | 0.32249 | 36.1064 | 11.6892 | 83.5586
20 | R070182 Cahnite original calibration 20um beam | 36.5485 | 0.11911 | 0.33653 | 36.2143 | 11.6892 | 84.9076
21 | R070182 Cahnite original calibration 20um beam | 35.1407 | 0.19561 | 0.28609 | 34.7364 | 11.6892 | 82.048
22 | R070182 Cahnite original calibration 20um beam | 36.1287 | 0.3132 | 0.29177 | 34.4633 | 11.6892 | 82.8861
23 | R070182 Cahnite original calibration 20um beam | 36.1937 | 0.28668 | 0.30914 | 36.9231 | 11.6892 | 85.4018
24 | R070182 Cahnite original calibration 20um beam | 36.6443 | 0.17454 | 0.31894 | 35.7874 | 11.6892 | 84.6144
25 | R070182 Cahnite original calibration 20um beam | 34.9907 | 0.26273 | 0.25833 | 35.4561 | 11.6892 | 82.6571
26 | R070182 Cahnite original calibration 20um beam | 35.929 | 0.26104 | 0.37446 | 35.0549 | 11.6892 | 83.3086
27 | R070182 Cahnite original calibration 20um beam | 36.4932 | 0.64928 | 0.43322 | 34.3847 | 11.6892 | 83.6496
28 | R070182 Cahnite original calibration 20um beam | 36.5191 | 0.27991 | 0.32614 | 36.7711 | 11.6892 | 85.5854
30 | R070182 Cahnite original calibration 20um beam | 36.3091 | 0.18249 | 0.32301 | 36.3136 | 11.6892 | 84.8174
| Average | 36.1217 | 0.2527 | 0.33616 | 35.6759 | 11.6892 | 84.0756
| Standard deviation | 0.58835 | 0.12989 | 0.056819 | 0.88834 | 0 | 1.1666
Empirical formula based on 8 O atoms: Ca2.03B(As0.98O4)(OH)4
B2O3 and H2O were added to bring the total close to 100%. Due to the high hydration of the sample, which suffered some damage during the probe,
the total was signigicantly lower than expected. However, the Ca:As ratio is very close to 2:1.