## pdf_output
eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055
| #57 | #58 | #59 | #60 | #61 | #62 | #63 | #64 | #65 | #66
Ox | eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #57: Wt; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #58: Percents; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #59: Average; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #60: Standard; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #61: Dev | average | stdev
P2O5 | 30.4 | 29.88 | 29.76 | 29.63 | 30.32 | 29.83 | 29.41 | 30.06 | 29.57 | 30.01 | 29.887 | 0.31784
MnO | 22.8 | 22.77 | 23.11 | 22.99 | 24.09 | 23.83 | 23.96 | 23.66 | 23.63 | 24 | 23.484 | 0.51571
Al2O3 | 22.29 | 21.83 | 21.55 | 21.96 | 21.89 | 21.89 | 21.79 | 21.78 | 22.12 | 21.92 | 21.902 | 0.1996
FeO | 7.12 | 7.21 | 6.79 | 6.58 | 5.75 | 5.56 | 5.56 | 5.82 | 5.95 | 5.89 | 6.223 | 0.63931
F | 1.09 | 0.84 | 0.57 | 0.88 | 0.53 | 0.88 | 0.77 | 0.65 | 0.54 | 0.38 | 0.713 | 0.215
CaO | 0.3 | 0.28 | 0.29 | 0.32 | 0.67 | 0.58 | 0.53 | 0.53 | 0.44 | 0.45 | 0.439 | 0.1378
MgO | 0.04 | 0.03 | 0.04 | 0.05 | 0.04 | 0.03 | 0.02 | 0.03 | 0.04 | 0.04 | 0.036 | 0.0084327
As2O5 | 0 | 0.04 | 0.03 | 0.01 | 0.01 | 0 | 0 | 0 | 0.02 | 0.04 | 0.015 | 0.016499 | not present; the measured values are lower than the detection limit for the element
Na2O | 0 | 0.02 | 0.01 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0.01 | 0.005 | 0.0070711 | not present; the measured values are lower than the detection limit for the element
SO3 | 0.01 | 0 | 0 | 0 | 0.04 | 0.02 | 0 | 0 | 0.02 | 0 | 0.009 | 0.013703 | not present; the measured values are lower than the detection limit for the element
Cl | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.0063246 | not present; the measured values are lower than the detection limit for the element
K2O | 0 | 0 | 0.01 | 0 | 0 | 0.02 | 0 | 0 | 0 | 0 | 0.003 | 0.0067495 | not present; the measured values are lower than the detection limit for the element
SiO2 | 0.37 | 0 | 0.12 | 0 | 0.13 | 0.27 | 0.03 | 0.24 | 0.24 | 0.16 | 0.156 | 0.12447 | not present; the measured values are lower than the detection limit for the element
Totals | 84.45 | 82.9 | 82.28 | 82.43 | 83.48 | 82.9 | 82.09 | 82.8 | 82.59 | 82.89 | 82.881 | 0.67519
Cation | eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #57: Numbers; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #58: Normalized; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #59: to; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #60: 5; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #61: O | average | stdev | in formula
Al | 1.033 | 1.027 | 1.012 | 1.039 | 1.009 | 1.027 | 1.033 | 1.016 | 1.032 | 1.014 | 1.0242 | 0.010549 | 1
P | 1.012 | 1.01 | 1.004 | 1.007 | 1.004 | 1.006 | 1.002 | 1.007 | 0.991 | 0.997 | 1.004 | 0.0061824 | 1
Mn | 0.759 | 0.77 | 0.78 | 0.782 | 0.798 | 0.804 | 0.816 | 0.793 | 0.792 | 0.798 | 0.7892 | 0.016772 | 0.78
Fe | 0.234 | 0.241 | 0.226 | 0.221 | 0.188 | 0.185 | 0.187 | 0.193 | 0.197 | 0.193 | 0.2065 | 0.021542 | 0.21
Ca | 0.013 | 0.012 | 0.012 | 0.014 | 0.028 | 0.025 | 0.023 | 0.023 | 0.019 | 0.019 | 0.0188 | 0.0058462 | 0.01
Totals | 3.304 | 3.246 | 3.169 | 3.26 | 3.149 | 3.252 | 3.233 | 3.184 | 3.161 | 3.111 | 3.2069 | 0.060653
F | 0.234 | 0.183 | 0.125 | 0.194 | 0.112 | 0.191 | 0.169 | 0.141 | 0.117 | 0.081 | 0.1547 | 0.047025 | 0.15
|  |  | ideal |  |  | Mn2+AlPO4(OH)2·H2O
| eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #59: measured; eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055eosphorite61055 #62: (Mn2+0.78Fe0.21Ca0.01)Σ=1Al1.00P1.00O4((OH)1.85F0.15)Σ=2·H2O |  |  |  | H2O estimated by difference; OH by charge balance
Xtal | El | Line | Pk(s) | Bkg(s) | Bkg(+) | Bkg(-) | Standards
TAP | F | Ka | 20 | 10 | 800 | -800 | MgF2
TAP | Na | Ka | 20 | 10 | 600 | -600 | albite-Cr
TAP | Si | Ka | 20 | 10 | 600 | -600 | diopside
TAP | As | La | 20 | 10 | 600 | -600 | as
TAP | Mg | Ka | 20 | 10 | 600 | -600 | diopside
TAP | Al | Ka | 20 | 10 | 600 | -600 | anor-hk
PET | P | Ka | 20 | 10 | 500 | -500 | apatite-s
PET | S | Ka | 20 | 10 | 250 | -250 | barite2
PET | Cl | Ka | 20 | 10 | 500 | -500 | scap-s
PET | K | Ka | 20 | 10 | 600 | -600 | kspar-OR1
PET | Ca | Ka | 20 | 10 | 500 | -500 | wollast
PET | Mn | Ka | 20 | 10 | 600 | -600 | rhod-791
LIF | Fe | Ka | 20 | 10 | 500 | -500 | fayalite
cation numbers normalized to 7.5 O | [10 empty] | average | stdev
P | 1.0339 | 1.0017 | 0.98518 | 0.98896 | 1.0111 | 0.99553 | 0.97562 | 0.99768 | 0.97823 | 0.99271 | 0.99605 | 0.017015 | 1
Al | 1.0553 | 1.0188 | 0.99314 | 1.0204 | 1.0162 | 1.017 | 1.0063 | 1.0063 | 1.0187 | 1.0094 | 1.0162 | 0.016106
Mn | 0.69715 | 0.68631 | 0.68783 | 0.6899 | 0.72226 | 0.71503 | 0.71462 | 0.70602 | 0.70283 | 0.71378 | 0.70357 | 0.012854
Fe | 0.2392 | 0.23877 | 0.22204 | 0.21695 | 0.18941 | 0.1833 | 0.1822 | 0.19081 | 0.19444 | 0.19247 | 0.20496 | 0.022228
Ca | 0.012913 | 0.01188 | 0.01215 | 0.013518 | 0.028277 | 0.024498 | 0.022252 | 0.022263 | 0.018422 | 0.018839 | 0.018501 | 0.0057745
Mg | 0.0023955 | 0.001771 | 0.0023317 | 0.0029387 | 0.0023488 | 0.001763 | 0.0011683 | 0.0017533 | 0.0023301 | 0.00233 | 0.002113 | 0.00049671
F | 0.2392 | 0.18171 | 0.12176 | 0.18953 | 0.11404 | 0.18951 | 0.16482 | 0.13921 | 0.11527 | 0.081111 | 0.15361 | 0.047531
H | 4.0642 | 4.3713 | 4.5581 | 4.4575 | 4.2892 | 4.4071 | 4.5479 | 4.4449 | 4.5138 | 4.4396 | 4.4094 | 0.14597 | 4