## pdf_output
Electron Microprobe Data
Rruff ID: R050253 |  |  | Mineral: Albite
Locality: | Madawaska/Faraday mine, Bancroft, Ontario, Canada
Weight Percents | [6 empty] | WDS scan: |  | Si Al Ca Na
R050253 | albite50253
| #1 | #2 | #3 | #4 | #5 | #6 | #7 | #8 | #9 | Average | StDev
Na2O | 11.67 | 11.82 | 11.74 | 12.04 | 12.04 | 11.84 | 11.8 | 11.78 | 11.39 | 11.7911 | 0.19541
Al2O3 | 20.28 | 20.16 | 20.26 | 20.19 | 20.2 | 20.15 | 20.26 | 20.17 | 20.21 | 20.2089 | 0.047551
SiO2 | 67.97 | 67.22 | 69 | 69.19 | 68.51 | 69.58 | 69.58 | 68.55 | 69.38 | 68.7756 | 0.79623
CaO | 0.22 | 0.21 | 0.24 | 0.06 | 0.02 | 0.16 | 0.12 | 0.22 | 0.24 | 0.16556 | 0.081718
Totals | 100.14 | 99.41 | 101.24 | 101.48 | 100.77 | 101.73 | 101.76 | 100.72 | 101.22 | 100.9411 | 0.77578
Cation numbers normalized to 8 Oxygens | [9 empty] | ACN | StDev | NCN | CNISF* |  | Charge (+)
IVSi | 2.963 | 2.956 | 2.974 | 2.978 | 2.971 | 2.984 | 2.983 | 2.972 | 2.986 | 2.9741 | 0.0099931 | 2.9682 | 2.98 | 4 | 11.92
IVAl | 0.037 | 0.044 | 0.026 | 0.022 | 0.029 | 0.016 | 0.017 | 0.028 | 0.014 | 0.025889 | 0.0099931 | 0.025837 | 0.02 | 3 | 0.06
VIAl | 1.005 | 1.001 | 1.003 | 1.002 | 1.003 | 1.002 | 1.007 | 1.003 | 1.011 | 1.0041 | 0.0031402 | 1.0021 | 1 | 3 | 3
Na | 0.987 | 1.008 | 0.981 | 1.005 | 1.012 | 0.985 | 0.981 | 0.99 | 0.95 | 0.98878 | 0.01876 | 0.98 | 0.98 | 1 | 0.98
Ca | 0.01 | 0.01 | 0.011 | 0.003 | 0.001 | 0.007 | 0.006 | 0.01 | 0.011 | 0.0076667 | 0.0036742 | 0.02 | 0.02 | 2 | 0.04
Totals | 5.015 | 5.031 | 5.008 | 5.013 | 5.02 | 5.003 | 4.998 | 5.011 | 4.981 | 5.0089 | 0.014155 | 4.9989 |  |  | 16
Ideal Chemistry: | albite50253 #4: NaAlSi3O8
Calculated Chemistry: | albite50253 #4: (Na0.98Ca0.02)Σ=1Al1.00(Si2.98Al0.02)Σ=3O8
Microprobe Calibration Data
Xtal | El | Line | Pk(s) | Bkg(s) | Bkg(+) | Bkg(-) | Standards
TAP | Na | Ka | 20 | 10 | 600 | -600 | albite-Cr
TAP | Si | Ka | 20 | 10 | 600 | -600 | diopside
TAP | Al | Ka | 20 | 10 | 600 | -600 | anor-hk
PET | K | Ka | 20 | 10 | 600 | -600 | kspar-OR1
PET | Ca | Ka | 20 | 10 | 600 | -600 | diopside
Instrument: Cameca SX50
Sample Voltage: 15 kV
Acceleration Current: 20 nA
Beam Size: Spot
Date of Analysis:
ACN: Average Number of Cations
NCN: Normalized Cation Numbers
StDev: Standard Deviation
CNISF* = cation numbers in structural formulae, charge balanced